Date: Feb. 8, 2002

To: BRAHMS File

From: D. Beavis

Subject: Activation Check and Release of Items form the BRAHMS I.R.

Ken Boland conducted an activation survey of the BRAHMS experimental equipment.  The following items or racks of items were found to be clean.  These items can be released from the area without additional activation checking.

The two racks and the enclosed electronics on the IR floor, which support the multiplicity array and beam counters.

The left beam-beam array.

The multiplicity array.

TPM1 and its mounted electronics.

TOFW and all its mounted components.

ALL 4 racks on the MRS spectrometer platform and the electronics they contain.

All counters behind the TOFW.

All electronics underneath the platform behind D2.

C1 detector.

All experimental equipment on the BFS.

Items contained in the toolbox and storage cabinet.

Items on the floor near the toolbox.

All other items must be activation checked before being removed from the I.R.

Residual levels from objects in the area prevented the following items from being listed as clean.

The right beam-beam array.

The rack for the right beam-beam array.

The three-element hodoscope on the front of D1.

T1, its electronics and the fiber array.

Two racks and the enclosed electronics beside D2.

T2, its electronics and the fiber array.

The left and right ZDC modules.

TPM2, its electronics, and the fiber arrays.

After a review, it is expected that “process knowledge” can be used to allow these items to be removed from the I.R. without an activation check.

The items that created radiation levels were:

D1 and its jack stands.

Sources in the DVMs

Activated machine components.

CC:	(via e-mail)

F. Videbaek

K. Boland

R. Karol

Y. Makdisi

G. Herman

D. Phillips