## Slide 1
DAQ status.
Performance of the Mercury part of the DAQ = 234 Hz.
Receiving program on vmesparc receives the event from Mercury and immediately acknowledge it. No DMA transfer. No FASTBUS. Internally generated data.
Results:
  Accepted rate = 234 Hz,
  Rate of errors = 1 Hz
  Very stable
  Mercury output queue is always empty.
DAQ Busy
State1
DValid
State3
Fig x. Slow input rate
Fig x. High input rate
Performance without writing and without FASTBUS = 190 Hz.
Vmesparc us=15%, sy=15%, id=70%
Accepted rate = 190 Hz
Rate of errors ~ 1Hz
Very stable
Mercury output queue is always empty

## Slide 2
0 | Trigger detected in EMM | 51
1 | Preparing EMM information | 55
2 | Preparing RINT | 154
3 | Sending ROUT command, DMUs will start sending data, removing DAQ_Busy | 165
4 | RINT0 transfer finished, RINT1 transfer finished | 3492
5 | Both RINT transfer finished | 3692
6 | Waiting for available space in the queue by taking semaphore EventAckMaster | 3692
7 | Got space in the queue. | 
8 | Worker0. Waiting for event by checking last word in the buffer for modification | 3568
 | Start DMU transfer. Transfer = 1900 us for 172256 bytes | 1490
9 | Worker0. Event received, checking data format for an FEC | 1710
10 | Worker0. Processing FEC data. 1360 us for 20 KB data sample | 1712
11 | Worker0. Huffman coding | 1714
12 | Worker0. Processing finished. | 3088
13 | Worker0. Critical section. Modifying the output buffer. | 3108
14 | Worker0: starting transfer. Last worker: sending semaphore to vmesparc New event | 3392
15 | Worker0: transfer finished. Last worker: send acknowledging semaphore to master | 3532
DMU transfer
9
11
10
11
10
3
2
1
0
13
12
14
8
15
4
7
5,6
14
15
@ 4.86 ms
Fig 205031. Single event.

## Slide 3
13
12
14
8
15
4
3
DMU transfer
DMU transfer
14
15
1
2
Fig 205032. Two adjacent events. No DMA transfers. Second event applied 400 us after first one. It shows long time between two DMU transfers.
9
Fig 205033. Two adjacent events, same conditions, another example. It shows unusual delay for 700 us in state 2. In previous picture it was same delay but in state 3.
5,6,7,0
? Expect 100 us
? Expect 100 us
? Expect 10 us
10
11
Expect it start here
Summary. Delay for 0.7 ms happens at states 2 or 3. Probably, the Mercury is busy with something (finishing the ongoing transfers). Another point: in the case of delay in state2 it finishes the state always slightly before the end of last worker transfer. (I cannot
Always finishes before the state14
14

## Slide 4
Fig 205061. Single event. No difference with fig. 205031
Changed allocation of FECs between workers. Made more uniform. Before that it was longest workers first, shortest at the end.
Fig 205062. Adjacent events.

## Slide 5
Fig 2050623. Adjacent events. End of the event.

## Slide 6
Fig 2050624. High rate. Accepted 264 Hz.
Fig 2050625. High rate. Accepted 274 Hz. State1 moved after State3. Saved ~ 100 us

## Slide 7
Fig 2050626. Accepted 274 Hz. All states shown.
Fig 2050627. Single event. State1 moved after State3. The time 0-3 is smaller (58 us) than in multiple event case (180 us). RACEway more busy?
0
2
3
1
3
1
0
2
4
5,6
7
Prev. event finished
First worker active 1 ms
9
11
12
13
14
15
8

## Slide 8
5/6/2002. Results:
No DMA: 274 ev/s
DMA, no FASTBUS, no disk: 203 ev/s, us=13%, sys=15%
Possible improvement: Try to move SMB containing the queue of processed events (EBQueue) from the Master to a Worker. This should make the master less busy due to DMA from the workers.
5/7/2002. DAQ dry run with silicon
Working with FECs.
External busy 1 ms applied.
Fig 205071. Single event.
DMA on,

## Slide 9
Errors when rate goes above 200 Hz:
[0]WorkerMod3(22): Error! Event 327a, FEC2e dmu0=32e0000!=0x80000000. ffaaaa,84000000,b80f007a,0
[0]WorkerMod3(14): Error! Event 34fa, FEC1a dmu0=b01b00fa!=0x80000000. b01b00fa,b01b00fa,b01b00fa,0
[0]WorkerMod3(14): Error! Event 34fa, FEC1a dmu0=b01b00fa!=0x80000000. b01b00fa,b01b00fa,b01b00fa,0
[0]WorkerMod3(14): Error! Event 3515, FEC17 dmu0=3170000!=0x80000000. bbaaaa,820[0]WorkerMod3(19): Error! Event 3515, FEC29 dmu0=3290000!=0x80000000. ffaaaa,84000000,b80a0015,0
00000,b0180015,0
[0]WorkerMod3(14): Error! Event 3515, FEC17 dmu0=3170000!=0x80000000. bbaaaa,82000000,b0180015,0
[0]WorkerMod3(14): Error! Event 3515, FEC17 dmu0=3170000!=0x80000000. bbaaaa,82000000,b0180015,0
What is strange, it shows dmu0=32e0000!=0x80000000 but when it dumps then dmu = 84000000. Oops, it was error in error logging.
Fixed error logging problem.
Errors in the case of low rate double events:
[0]WorkerMod3(14): Error! Event 14b, FEC1a Trail2!=0x80000000. b01b004b,b01b004b,b01b004b,b01b004b
5/7/2002 12:34 PM Modifications made:
MDC BUSY L2 or’ed with main BUSY.
Errors again at 200 Hz:
[0]WorkerMod3(14): Error! Event 1028f, FEC17 Trail2!=0x80000000. 3170000,bbaaaa,84000000,b018008f
[0]WorkerMod3(14): Error! Event 1028f, FEC17 Trail2!=0x80000000. 3170000,bbaaaa,84000000,b018008f
[0]WorkerMod3(14): Error! Event 1028f, FEC17 Trail2!=0x80000000. 3170000,bbaaaa,84000000,b018008f
[0]WorkerMod3(14): Error! Event 1028f, FEC17 Trail2!=0x80000000. 3170000,bbaaaa,84000000,b018008f
5/7/2002 1:21 PM
Switched off error printout. DMA on, accepted rate = 210 Hz
5/7/2002 1:49 PM
Running with DMA off. Accepted rate = 300 Hz, Error rate ~ 1 Hz.
5/7/2002 3:32 PM
No DMA mode. Faced a bottleneck at 300 Hz, the EvtAckMCE semaphore sharply drops to 0 from 31. That means the vmesparc is not responding fast enough.
5/7/2002 5:47 PM
Took several files with bias off and on. Achieved 184 Hz accepted rate for several sequences. There was no FASTBUS, but this should make any difference.

## Slide 10
5/21/2002 Trying to place output queue EBQueue on an inactive worker
Fig 205151. Polling for the trigger
Polling
DValid
Fig 205152. Polling for the trigger.
Double events. Intermittent data transfer.

## Slide 11
Fig 205211. EBQueue on empty worker
Fig 205212. Example of RINT timeout
Fig 205213. EBQueue is on the master.
The data transfer is intermittent. RACEway congestions?
Fig 205214. EBQueue is on the master.
The processing time is longer, 8.4 ms vs. 7.1.
Fig 205215. EBQueue is on the master.
FECs on. Event size is 108 kB. On previous pictures it was 300 kB.
Fig 205216. Same as before but double event. It can run at ~ 400 Hz !
Second event finished @ 8.5 ms
7
6
4
Second transfer finished
7
3
1
4
2
2
New trigger during transfer

## Slide 12: Testing FPDP Transfer
I have implemented the data transfer from Mercury to vmesparc using FPDP
link (to avoid VME backplane bottleneck at 37 MB/s). The test program on
Mercury generates data through the cable at 125 MB/s but vmesparc accepts
only 40.00 MB/s sharp. The vmesparc is 50% busy in the system state. I am in
contact with hardware vendors to find out what can be done to improve the
reading performance. For today this seem to be a current limit of the DAQ
bandwidth it will correspond to 400-500 Hz of compressed events. Notice that
we can use 2 of our vmesparc's to receive data from Mercury.
The FPDP transfer rate does not depend on data size if the size is larger 0.1 MB
The FPDP driver support only asynchronous read/write. After starting the operation one must wait until it finished and then get data from a system to the local buffer using GET_DATA ioctl. Without this ioctl the rate is 52 MB/s, but data are not correct of course.
_________________________________________________________________
Writing speed on usp using “Bonnias -s 1000 -w -d /data/3”
is 42 MB/s, sy=67%, id=13%, disk %b=100%
If test_fpdp and Bonnias are running simultaneously then
Size = 4 MB, FPDP = 38 MB/s, disk = 16 MB/s, sy=80%, id=20%, disk%b=90%
Test_fpdp with writing to the disk
Size = 0.1 MB, FPDP = 18 MB/s, disk = 17.6 MB/s, sy = 51%, disk%b = 34
After implementing 2-buffer read the FPDP transfer rate become 43 MB/s
Size = .1 MB, FPDP = disk = 19.5 MB/s, sy=67%, dsik%b = 37% , w/s = 25
Todo: test at 4MB