## Slide 1: DAQ Status
Successful Dress Rehearsal on Nov 6. New data files written with Silicon and FastBus, compressed/uncompressed. 140 Hz. Missing parts in data stream fixed. Phat updated.
Successful manual data validation.
Connection to online is working. Being fine tuned.
2-year old problem with L0 board solved (unexpected gates for paddles).
Engineering runs with Silicon (successful) and TOF (not successful).
L0 board upgraded. Added: 4 prescalers, pileup monitoring. Board tested with old and new DAQ.
TOF data taking time = 2.2 ms, Silicon 1.4-1.8 ms.
The VME readout delayed.
High DAQ rate is not tuned.

## Slide 2: DAQ Plans
FastBus calibration modes. Today.
VME readout. by Nov 17.
Order for disk system upgrade.
Silicon calibration mode. 1 day.
XLM
High rate tuning.