## Slide 1: Programmable Trigger Logic For Phobos
Andrei Sukhanov
This presentation will probably involve audience discussion, which will create action items. Use PowerPoint to keep track of these action items during your presentation
In Slide Show, click on the right mouse button
Select “Meeting Minder”
Select the “Action Items” tab
Type in action items as they come up
Click OK to dismiss this box
This will automatically create an Action Item slide at the end of your presentation with your points entered.

## Slide 2: Phobos Trigger Logic
TrgManL0
TrgManL1
26 ns
48 ns
Note: Fast Clear should block the L0 for 950 ns

## Slide 3: PCDP
Event#&Type code is 16bit word. Bits 0:7 represent sequential event number, bits 08:15 event type.
Code
Event Number
15 08
07 0
All Phobos event types could be divided into 2 category:
Normal Event when no special action required for any ROCs to handle the event.
Special Event when special action required at least in one ROC. The typical event is the non zero-suppressed events in TOF.
The additional information about enabled and actual trigger conditions could be obtained from the Trigger subevent. For example to identify that event was generated by TOF LED pulser, one need to check certain bit in the LVL0_TR word in the Trigger subevent.
CIn
Busy ROC0
Busy ROC1
Busy ROC2
TOF LED
Sync
Busy Event Gen
DIO
EvType/ Command 8 bit
Ev# 8bit
L1
Event#&Type
COut
Strobe EOD
18 dTTL
16 dECL
16 dECL
ispLSI
Special Events
VME Programmable Control and Data Ports
Notes: <number>
<footer>
<header>
<date/time>

## Slide 4: Block Diagram of the PCDP
dECL
to
TTL
TTL
to
dECL
dTTL
to
TTL
to
dTTL
MC10ELT25
MC10ELT24
SN74LBC978
HIGH
ADR
SEL
A23-A8
A7-A1
AM5-AM0
AS
LWORD
IACK
DS0-DS1
WRITE
IACKIN
DTACK
BERR
IACKOUT
IRQn
D00-D16
SYSCLK
FIFO
64Kx18
DP0-DP15
STROBEs
DIRs
CPI0-CPI15
CPO0-CPO15
16MHz
64MHz
C/ST FIFO
SEL
ispLSI3320-100
VME P1 connector
Subevent1 accepted----
Event Number
Trigger
Code
Busy----
Event Accepted----
Subevent2 accepted----
Trig1--
Trig2--------
Main trig----------
Block1----
Block2----
The board was designed by Sergei Basilev:
basilev@sunhe.jinr.ru

## Slide 5: Run 2390. Jitter of the Trigger Ciruits
TDC Gate to CAT.ICAS
462
Time
Calibrator
Start
Stop
NIM-ECL
365AL
Event
Manager
Trig
Busy
ECL-NIM
ECL-ECL
63 ns
ECL-ECL
6 ns
6 ns
Cable delay 78 ns
6 ns
ECL-ECL
63 ns
ECL-ECL
ECL-ECL
63 ns
ECL-ECL
NIM-ECL
63 ns
ECL-ECL
TDC 0948
TDC 0949
TDC 0950
TDC 0951
794
GDG
ECL-NIM
NIM-ECL
ADC Gate to CAT.ADCG
422
FO
Discriminators in the tunnel
All otherTDCs
8 ns
0 ns
52 ns
63 ns
Trig TDCs
6 ns
32 ns
diff=32 ns
The event manager is connected in normal mode: the main trigger is generated by event manager.

## Slide 6: Run 2390,2391. Results
In the run 2391 the TDC gate was taken directly from the AND gate 365AL, by doing this we eliminate possible jitter in the event Manager.
The Event Manager does not affect the resolution of the TDC
The delay introduced by the Event Manager is 22 ns.
The best achievable jitter of the trigger circuits is 100 ps in the range of 0-100ns, and 200-250 ps in the range of 100-800ns
The Round Trip Delay for TOF signals is 780-807 ns
We expect the RMS here be less than in the run 2309 as we eliminated possible jitter from the Event Manager

## Slide 7: LVL0 Circuit

## Slide 8: LVL1 Circuit

## Slide 9: PreScaler 50 MHz
Prescaling factors: 0,1,2,4,8,16,32,64,128
Max. frequency: 50 MHz
Clear, Enable
Expandable by connecting current CAO to next Enable

## Slide 10: Conclusion
  All 3 boards (EM, LVL0, LVL1) are ready for testing
  The time to generate LVL0 pulse is 21.5 ns (triggered) or 11 ns (non-triggered).
  The delay of the LVL1 circuit is 49 ns
  Most of the resources on the board are programmable from VME
  More features can easily be added. (The Design cycle = 5 min)