## Sheet1
|  | TML0, Level 0 Trigger Board. |  |  | Board # | 4
Word | Byte | Signals | Read | Write
0 | 1 | CSR[12:15] | N/A | same
0 | 1 | EnbCI[8:11] | Enable cosmic trigger inputs | same
0 | 0 | EnbCI[4:7] | Enable beam trigger inputs | same
0 | 0 | EnbCI[0:3] | Enable beam trigger inputs | same
1 | 3 | Switch | On board switch ISW2 | 15-Reset all, 14-scalers, 13-L0
1 | 3 | Type | Board Type | N/A
1 | 2 | Day | Version | N/A
1 | 2 | Month | Version | N/A
2 | 5 | CI[12:15] | dECL Input port, 15-Veto, 14-CC | CO[12:15]
2 | 5 | CI[8:11] | dECL Input port, TCosm[0:3] | CO[8:11]
2 | 4 | CI[4:7] | dECL Input port, TBeam[4:7] | TORV, HiPriO, TR0
2 | 4 | CI[0:3] | dECL Input port, TBeam[0:3] | L0,L0C,L0Pulse,TOR
3 | 7 | TR[12:15] | Latched CI
3 | 7 | TR[8:11] | Latched CI
3 | 6 | TR[4:7] | Latched CI
3 | 6 | TR[0:3] | Latched CI
4 | 9 | ScL0 | Scaler L0
4 | 9 | ScL0 | Scaler L0
4 | 8 | ScL0 | Scaler L0
4 | 8 | ScL0 | Scaler L0
5 | 11 | ScL0 | Scaler L0
5 | 11 | ScL0 | Scaler L0
5 | 10 | ScL0 | Scaler L0
5 | 10 | ScL0 | Scaler L0
6 | 13 | ScTORV | Vetoed triggers
6 | 13 | ScTORV | Vetoed triggers
6 | 12 | ScTORV | Vetoed triggers
6 | 12 | ScTORV | Vetoed triggers
7 | 15 | ScTOR | Applied triggers
7 | 15 | ScTOR | Applied triggers
7 | 14 | ScTOR | Applied triggers
7 | 14 | ScTOR | Applied triggers
8 | 17 | ScT1 | Scaler CI1
8 | 17 | ScT1 | Scaler CI1
8 | 16 | ScT0 | Scaler CI0
8 | 16 | ScT0 | Scaler CI0
9 | 19 | ScT3 | Scaler CI3
9 | 19 | ScT3 | Scaler CI3
9 | 18 | ScT2 | Scaler CI2
9 | 18 | ScT2 | Scaler CI2
10 | 21 | ScTCosm | Scaler Cosmic
10 | 21 | ScTCosm | Scaler Cosmic
10 | 20 | ScT4 | Scaler CI4
10 | 20 | ScT4 | Scaler CI4
11 | 23 | N/A
11 | 23 | N/A
11 | 22 | N/A
11 | 22 | N/A
|  | TML1, Level 1 Trigger Board. |  |  | Board # | 5
Word | Byte | TML1 | Read | Write
0 | 1 | PR0 | Prescaler 3 setting | same
0 | 1 | PR1 | Prescaler 2 setting | same
0 | 0 | PR2 | Prescaler 1 setting | same
0 | 0 | PR3 | Prescaler 0 setting | same
1 | 3 | Switch | On board switch ISW2 | 15-Reset, 14-Scaler reset, 13-L1 reset
1 | 3 | Type | Board Type | N/A
1 | 2 | Day | Version | N/A
1 | 2 | Month | Version | N/A
2 | 5 | CI[12:15] | ExtL1R, ZDC, CC, Veto
2 | 5 | CI[8:11] | CI[8:11]
2 | 4 | CI[4:7] | Pr[4:7]
2 | 4 | CI[0:3] | L0, Pr[1:3]
3 | 7 | 0 |  | Prescaler 7 setting
3 | 7 | 0 |  | Prescaler 6 setting
3 | 6 | PRQ[4:7] | Latched prescaled triggers | Prescaler 5 setting
3 | 6 | PRQ[0:3] | Latched prescaled triggers | Prescaler 4 setting
4 | 9 | ScCI1 | ScCI1
4 | 9 | ScCI1 | ScCI1
4 | 8 | ScCI0 | ScCI0
4 | 8 | ScCI0 | ScCI0
5 | 11 | ScCI3 | ScCI3
5 | 11 | ScCI3 | ScCI3
5 | 10 | ScCI2 | ScCI2
5 | 10 | ScCI2 | ScCI2
6 | 13 | ScCI5 | ScCI5
6 | 13 | ScCI5 | ScCI5
6 | 12 | ScCI4 | ScCI4
6 | 12 | ScCI4 | ScCI4
7 | 15 | ScL1 | Scaler of L1
7 | 15 | ScL1 | Scaler of L1
7 | 14 | ScFC | Scaler of Fast Clear pulses
7 | 14 | ScFC | Scaler of Fast Clear pulses
|  | EMM, Event Manager Master Board. |  |  | Board # | 6
Word | Byte | EMM | Read | Write
0 | 1 | Enable,Trig | 15-Trigger | 12-Enable, 13:14-Disable T1:T2
0 | 1 | IL[0:2],IE | contents | 8:10-Interrupt level, 11-Int enable
0 | 0 | IV[4:7] | contents | Interrupt vector
0 | 0 | IV[0:3] | contents | Interrupt vector
1 | 3 | Switch | On board switch ISW2
1 | 3 | Type | Board Type
1 | 2 | Day | Version
1 | 2 | Month | Version
2 | 5 | CI[12:15] | CI[11:15] | 14-EvStrobe, 15-TrigPulse
2 | 5 | CI[8:11] | 8-Trig2, 9-Veto01, 10-Ack2 | Pulsed CO[8:11]
2 | 4 | CI[4:7] | 4-Trig1, 5-Veto02, 6-Ack1 | CO[4:7]
2 | 4 | CI[0:3] | 0-Trig0 | 0-Busy, CO[1:3]
3 | 7 | DP[12:15] | Event type/command
3 | 7 | DP[8:11] | Event type/command
3 | 6 | DP[4:7] | Event number
3 | 6 | DP[0:3] | Event number
4 | 9 | ScTrg[28:31] | Accepted triggers
4 | 9 | ScTrg[24:27] | Accepted triggers
4 | 8 | ScTrg[20:23] | Accepted triggers
4 | 8 | ScTrg[16:19] | Accepted triggers
5 | 11 | ScTrg[12:15] | Accepted triggers
5 | 11 | ScTrg[8:11] | Accepted triggers
5 | 10 | ScTrg[4:7] | Accepted triggers
5 | 10 | ScTrg[0:3] | Accepted triggers
6 | 13 | ScTVeto | Vetoed triggers
6 | 13 | ScTVeto | Vetoed triggers
6 | 12 | ScTapp | Applied triggers
6 | 12 | ScTapp | Applied triggers
7 | 15 | 0
7 | 15 | 0
7 | 14 | CIr | Latched inputs
7 | 14 | CIr | Latched inputs
|  | EMS, Event Manager Slave Board. |  |  | Board # | 7
Word | Byte | EMS
0 | 1 | Enable,Trig | 15-Trigger | 12-Enable, 13:14-Split0:1
0 | 1 | IL[0:2],IE | contents | 8:10 Interrupt level, 11 Int enable
0 | 0 | IV | contents | Interrupt vector
0 | 0 | IV | contents | Interrupt vector
1 | 3 | Switch | On board switch ISW2 | 15-Done, 14-Reset saclers, 13-icrement
1 | 3 | Type | Board Type
1 | 2 | Day | Version
1 | 2 | Month | Version
2 | 5 | CI/CO12:15] | 15-Handshake | 13-MyTrig, 14-Veto, 15-Ack
2 | 5 | CI/CO[8:11] | CI[8:11] | CO[8:11]
2 | 4 | CI/CO[4:7] | CI[4:7] | CO[4:7]
2 | 4 | CI/CO[0:3] | CI[0:3] | CO[0:3]
3 | 7 | DP[12:15] | Event type/command
3 | 7 | DP[8:11] | Event type/command
3 | 6 | DP[4:7] | Event number
3 | 6 | DP[0:3] | Event number
4 | 9 | Sc0 | Scaler CI0
4 | 9 | Sc0 | Scaler CI0
4 | 8 | Sc0 | Scaler CI0
4 | 8 | Sc0 | Scaler CI0
5 | 11 | Sc2 | Scaler CI0/2
5 | 11 | Sc2 | Scaler CI0/2
5 | 10 | Sc2 | Scaler CI0/2
5 | 10 | Sc2 | Scaler CI0/2
6 | 13 | Sc1 | Scaler CI1
6 | 13 | Sc1 | Scaler CI1
6 | 12 | Sc1 | Scaler CI1
6 | 12 | Sc1 | Scaler CI1
7 | 15 | Sc3 | Scaler CI1/3
7 | 15 | Sc3 | Scaler CI1/3
7 | 14 | Sc3 | Scaler CI1/3
7 | 14 | Sc3 | Scaler CI1/3