## Hardware
# | Loc. | Bought | Type |  | DS | De | S/N | Ethernet Address | IP Address
1 | MIT | MIT | CrateVME | SiFrontEnd VME Crate
2 | MIT | MIT | Scaler | LeCroy 1151E Scaler
3 | MIT | MIT | I/Oreg | Acromag 9460 VME IO Register | *
4 | MIT | Yale | addOn_CPU | MVME712M transition module | *
5 | MIT | Yale | CPU_PPC | MVME2604 PowerPC VME Board and MPMC202 Fast Ethernet PMC | *
6 | BNL | MIT | I/Oreg | Acromag 9412 Output Register
7 | BNL | Yale | CPU_PPC | MVME2306 PowerPC VME Board, 300 MHz, 67MHz bus, 32 MB | * |  | 3125316 | 08003E26A23C | phobos3.chm.bnl.gov
8 | BNL | Yale | addOn_CPU | MVME712M transition module | *
9 | BNL | Yale | Server | Sun HPC3000 Server & Monitor
10 | BNL | Yale | PC | Gateway 486/DX33 PC and monitor
11 | BNL | Yale | CrateVME | DAQ VME Crate
12 | BNL | BNL | CrateVME | Slow Controls VME Crate
13 | BNL | BNL |  | Slow Controls Bus Analyzer Vmetro VBT325B
14 | BNL | BNL |  | Slow Controls Natl. Inst. GPIB interface
15 | BNL | BNL | CPU_PPC | MVME2603 Slow Controls PowerPC & transition module | *
16 | BNL | Yale | CPU_68K | MVME162-223 VME 68K Processor Board (162DX?) | *
17 | BNL | Yale | CPU_68K | MVME167 VME 68K Processor Board (16MB or 4MB RAM??) | *
18 | BNL | BNL |  | Slow Controls VME->ARCNet module (on order)
19 | BNL | Yale | Scaler | CAEN V560N Scaler | *
20 | BNL | Yale | I/Oreg | CAEN V262 I/O Register | *
21 | BNL | Yale |  | AA277-6. 2*DSP32 (arrived 1SEP98 addressed to Mark Baker) |  |  | 91248016
22 | BNL | Yale |  | AA277-6. 1*DSP32 (arrived 1SEP98 addressed to Mark Baker) |  |  | 2030020
23 | URoch | Yale | CPU_PPC | MVME2306 PowerPC VME Board | *
24 | ? | Yale | CPU_68K | MVME162LX 68K processor board | *
25 | ? | Yale | CPU_68K | MVME167 VME 68K Processor Board (4MB or 16MB RAM??) | *
26 | ? | Yale |  | VME Bus Analyzer. (checks VME backplane integrity)