## Modules
Component List for the Phobos Spectrometer (1 arm)
readout time/ch [ms] |  | 0.2
Module 1 |  | per mod | total |  | Module 2 |  | per mod | total |  | Module 7-T2 |  | per mod | total |  | Module 4-T4 |  | per mod | total | Module 4-T5 |  | per mod | total | Module 5-T4 |  | per mod | total | Module 5-T5 |  | per mod | total | Module 6 |  | per mod | total | Module 7-T3 |  | per mod | total
Total Number of Module: |  | 9 |  |  | Total Number of Module: |  | 5 |  |  | Total Number of Module: |  | 5 |  |  | Total Number of Module: |  | 7 |  | Total Number of Module: |  | 13 |  | Total Number of Module: |  | 7 |  | Total Number of Module: |  | 30 |  | Total Number of Module: |  | 9 |  | Total Number of Module: |  | 9
installed |  | 8 |  |  |  |  | 4 |  |  |  |  | 4 |  |  |  |  | 6 |  |  |  | 12 |  |  |  | 6 |  |  |  | 28 |  |  |  | 8 |  |  |  | 8
spare |  | 1 |  |  |  |  | 1 |  |  |  |  | 1 |  |  |  |  | 1 |  |  |  | 1 |  |  |  | 1 |  |  |  | 2 |  |  |  | 1 |  |  |  | 1
Flex Cable | FLEX | 2 | 18 |  | Flex Cable | FLEX | 2 | 10 |  | Flex Cable | FLEX | 2 | 10 |  | Flex Cable | FLEX | 1 | 7 | Flex Cable | FLEX | 1 | 13 | Flex Cable | FLEX | 1 | 7 | Flex Cable | FLEX | 1 | 30 | Flex Cable | FLEX | 2 | 18 | Flex Cable | FLEX | 2 | 18
Glass | GPDH | 2 | 18 |  | Glass | GPDH |  | 0 |  | Glass | GPDH |  | 0 |  | Glass | GPDH |  | 0 | Glass | GPDH |  | 0 | Glass | GPDH |  | 0 | Glass | GPDH |  | 0 | Glass | GPDH |  | 0 | Glass | GPDH |  | 0
| GPDL | 2 | 18 |  |  | GPDL |  | 0 |  |  | GPDL |  | 0 |  |  | GPDL |  | 0 |  | GPDL |  | 0 |  | GPDL |  | 0 |  | GPDL |  | 0 |  | GPDL |  | 0 |  | GPDL |  | 0
| GPH |  | 0 |  |  | GPH | 4 | 20 |  |  | GPH | 2 | 10 |  |  | GPH | 2 | 14 |  | GPH | 2 | 26 |  | GPH | 1 | 7 |  | GPH | 1 | 30 |  | GPH | 2 | 18 |  | GPH | 2 | 18
| GPL |  | 0 |  |  | GPL | 4 | 20 |  |  | GPL | 4 | 20 |  |  | GPL | 2 | 14 |  | GPL | 2 | 26 |  | GPL | 2 | 14 |  | GPL | 2 | 60 |  | GPL | 2 | 18 |  | GPL | 4 | 36
RO chip | VA128-HDR1 | 24 | 216 |  | RO chip | VA128-HDR1 |  | 0 |  | RO chip | VA128-HDR1 |  | 0 |  | RO chip | VA128-HDR1 |  | 0 | RO chip | VA128-HDR1 |  | 0 | RO chip | VA128-HDR1 |  | 0 | RO chip | VA128-HDR1 |  | 0 | RO chip | VA128-HDR1 |  | 0 | RO chip | VA128-HDR1 |  | 0
| VA64-HDR1 |  | 0 |  |  | VA64-HDR1 | 32 | 160 |  |  | VA64-HDR1 | 24 | 120 |  |  | VA64-HDR1 | 16 | 112 |  | VA64-HDR1 | 16 | 208 |  | VA64-HDR1 | 12 | 84 |  | VA64-HDR1 | 12 | 360 |  | VA64-HDR1 | 32 | 288 |  | VA64-HDR1 | 24 | 216
Hybrid | MSDL | 1 | 9 |  | Hybrid | MSDL |  | 0 |  | Hybrid | MSDL |  | 0 |  | Hybrid | MSDL |  | 0 | Hybrid | MSDL |  | 0 | Hybrid | MSDL |  | 0 | Hybrid | MSDL |  | 0 | Hybrid | MSDL |  | 0 | Hybrid | MSDL |  | 0
| MSDR | 1 | 9 |  |  | MSDR |  | 0 |  |  | MSDR |  | 0 |  |  | MSDR |  | 0 |  | MSDR |  | 0 |  | MSDR |  | 0 |  | MSDR |  | 0 |  | MSDR |  | 0 |  | MSDR |  | 0
| MS3L |  | 0 |  |  | MS3L |  | 0 |  |  | MS3L | 1 | 5 |  |  | MS3L |  | 0 |  | MS3L |  | 0 |  | MS3L | 1 | 7 |  | MS3L | 1 | 30 |  | MS3L |  | 0 |  | MS3L | 1 | 9
| MS3R |  | 0 |  |  | MS3R |  | 0 |  |  | MS3R | 1 | 5 |  |  | MS3R |  | 0 |  | MS3R |  | 0 |  | MS3R |  | 0 |  | MS3R |  | 0 |  | MS3R |  | 0 |  | MS3R | 1 | 9
| MS4L |  | 0 |  |  | MS4L | 1 | 5 |  |  | MS4L |  | 0 |  |  | MS4L | 1 | 7 |  | MS4L | 1 | 13 |  | MS4L |  | 0 |  | MS4L |  | 0 |  | MS4L | 1 | 9 |  | MS4L |  | 0
| MS4R |  | 0 |  |  | MS4R | 1 | 5 |  |  | MS4R |  | 0 |  |  | MS4R |  | 0 |  | MS4R |  | 0 |  | MS4R |  | 0 |  | MS4R |  | 0 |  | MS4R | 1 | 9 |  | MS4R |  | 0
subplate | SPD | 2 | 18 |  | subplate | SPD |  | 0 |  | subplate | SPD |  | 0 |  | subplate | SPD |  | 0 | subplate | SPD |  | 0 | subplate | SPD |  | 0 | subplate | SPD |  | 0 | subplate | SPD |  | 0 | subplate | SPD |  | 0
| SP3 |  | 0 |  |  | SP3 |  | 0 |  |  | SP3 | 2 | 10 |  |  | SP3 |  | 0 |  | SP3 |  | 0 |  | SP3 | 1 | 7 |  | SP3 | 1 | 30 |  | SP3 |  | 0 |  | SP3 | 2 | 18
| SP4 |  | 0 |  |  | SP4 | 2 | 10 |  |  | SP4 |  | 0 |  |  | SP4 | 1 | 7 |  | SP4 | 1 | 13 |  | SP4 |  | 0 |  | SP4 |  | 0 |  | SP4 | 2 | 18 |  | SP4 |  | 0
insert | INSREC |  | 0 |  | insert | INSREC | 2 | 10 |  | insert | INSREC | 2 | 10 |  | insert | INSREC | 1 | 7 | insert | INSREC | 1 | 13 | insert | INSREC | 1 | 7 | insert | INSREC | 1 | 30 | insert | INSREC | 2 | 18 | insert | INSREC | 2 | 18
| INSRND | 6 | 54 |  |  | INSRND | 2 | 10 |  |  | INSRND | 2 | 10 |  |  | INSRND | 1 | 7 |  | INSRND | 1 | 13 |  | INSRND | 1 | 7 |  | INSRND | 1 | 30 |  | INSRND | 2 | 18 |  | INSRND | 2 | 18
cover pillar | PILTHR | 4 | 36 |  | cover pillar | PILTHR | 6 | 30 |  | cover pillar | PILTHR | 4 | 20 |  | cover pillar | PILTHR | 3 | 21 | cover pillar | PILTHR | 3 | 39 | cover pillar | PILTHR | 2 | 14 | cover pillar | PILTHR | 2 | 60 | cover pillar | PILTHR | 6 | 54 | cover pillar | PILTHR | 4 | 36
| PILNTH | 6 | 54 |  |  | PILNTH | 6 | 30 |  |  | PILNTH | 6 | 30 |  |  | PILNTH | 3 | 21 |  | PILNTH | 3 | 39 |  | PILNTH | 3 | 21 |  | PILNTH | 3 | 90 |  | PILNTH | 6 | 54 |  | PILNTH | 6 | 54
Sensor | T1 | 2 | 18 |  | Sensor | T1 |  | 0 |  | Sensor | T1 |  | 0 |  | Sensor | T1 |  | 0 | Sensor | T1 |  | 0 | Sensor | T1 |  | 0 | Sensor | T1 |  | 0 | Sensor | T1 |  | 0 | Sensor | T1 |  | 0
| T2 |  | 0 |  |  | T2 | 4 | 20 |  |  | T2 | 3 | 15 |  |  | T2 |  | 0 |  | T2 |  | 0 |  | T2 |  | 0 |  | T2 |  | 0 |  | T2 |  | 0 |  | T2 |  | 0
| T3 |  | 0 |  |  | T3 |  | 0 |  |  | T3 |  | 0 |  |  | T3 |  | 0 |  | T3 |  | 0 |  | T3 |  | 0 |  | T3 |  | 0 |  | T3 | 4 | 36 |  | T3 | 3 | 27
| T4 |  | 0 |  |  | T4 |  | 0 |  |  | T4 |  | 0 |  |  | T4 | 4 | 28 |  | T4 |  | 0 |  | T4 | 3 | 21 |  | T4 |  | 0 |  | T4 |  | 0 |  | T4 |  | 0
| T5 |  | 0 |  |  | T5 |  | 0 |  |  | T5 |  | 0 |  |  | T5 |  | 0 |  | T5 | 4 | 52 |  | T5 |  | 0 |  | T5 | 3 | 90 |  | T5 |  | 0 |  | T5 |  | 0
Cover | CD | 2 | 18 |  | Cover | CD |  | 0 |  | Cover | CD |  | 0 |  | Cover | CD |  | 0 | Cover | CD |  | 0 | Cover | CD |  | 0 | Cover | CD |  | 0 | Cover | CD |  | 0 | Cover | CD |  | 0
| C3 |  | 0 |  |  | C3 |  | 0 |  |  | C3 | 2 | 10 |  |  | C3 |  | 0 |  | C3 |  | 0 |  | C3 | 1 | 7 |  | C3 | 1 | 30 |  | C3 |  | 0 |  | C3 | 2 | 18
| C4 |  | 0 |  |  | C4 | 2 | 10 |  |  | C4 |  | 0 |  |  | C4 | 1 | 7 |  | C4 | 1 | 13 |  | C4 |  | 0 |  | C4 |  | 0 |  | C4 | 2 | 18 |  | C4 |  | 0
Transp.Box | TPBD | 1 | 9 |  | Transp.Box | TPBD |  | 0 |  | Transp.Box | TPBD |  | 0 |  | Transp.Box | TPBD |  | 0 | Transp.Box | TPBD |  | 0 | Transp.Box | TPBD |  | 0 | Transp.Box | TPBD |  | 0 | Transp.Box | TPBD |  | 0 | Transp.Box | TPBD |  | 0
| TPB3 |  | 0 |  |  | TPB3 |  | 0 |  |  | TPB3 | 1 | 5 |  |  | TPB3 |  | 0 |  | TPB3 |  | 0 |  | TPB3 | 1 | 7 |  | TPB3 | 1 | 30 |  | TPB3 |  | 0 |  | TPB3 | 1 | 9
| TPB4 |  | 0 |  |  | TPB4 | 1 | 5 |  |  | TPB4 |  | 0 |  |  | TPB4 | 1 | 7 |  | TPB4 | 1 | 13 |  | TPB4 |  | 0 |  | TPB4 |  | 0 |  | TPB4 | 1 | 9 |  | TPB4 |  | 0
TDR channels |  | 4 | 36 |  | TDR channels |  | 4 | 20 |  | TDR channels |  | 4 | 20 |  | TDR channels |  | 2 | 14 | TDR channels |  | 2 | 26 | TDR channels |  | 2 | 14 | TDR channels |  | 2 | 60 | TDR channels |  | 4 | 36 | TDR channels |  | 4 | 36
Number of Analog Lines |  | 4 |  |  | Number of Analog Lines |  | 4 |  |  | Number of Analog Lines |  | 4 |  |  | Number of Analog Lines |  | 2 |  | Number of Analog Lines |  | 2 |  | Number of Analog Lines |  | 2 |  | Number of Analog Lines |  | 2 |  | Number of Analog Lines |  | 4 |  | Number of Analog Lines |  | 4
chip/analog line |  | 6 |  |  | chip/analog line |  | 8 |  |  | chip/analog line |  | 6 |  |  | chip/analog line |  | 8 |  | chip/analog line |  | 8 |  | chip/analog line |  | 6 |  | chip/analog line |  | 6 |  | chip/analog line |  | 8 |  | chip/analog line |  | 6
Channel/chip |  | 128 |  |  | Channel/chip |  | 64 |  |  | Channel/chip |  | 64 |  |  | Channel/chip |  | 64 |  | Channel/chip |  | 64 |  | Channel/chip |  | 64 |  | Channel/chip |  | 64 |  | Channel/chip |  | 64 |  | Channel/chip |  | 64
total ch / analog line |  | 768 |  |  | total ch / analog line |  | 512 |  |  | total ch / analog line |  | 384 |  |  | total ch / analog line |  | 512 |  | total ch / analog line |  | 512 |  | total ch / analog line |  | 384 |  | total ch / analog line |  | 384 |  | total ch / analog line |  | 512 |  | total ch / analog line |  | 384
readout time |  | 153.6 |  |  | readout time |  | 102.4 |  |  | readout time |  | 76.8 |  |  | readout time |  | 102.4 |  | readout time |  | 102.4 |  | readout time |  | 76.8 |  | readout time |  | 76.8 |  | readout time |  | 102.4 |  | readout time |  | 76.8
Summary for two arms
|  | Mod1 | Mod2 | Mod7-T2 | Mod4-T4 | Mod4-T5 | Mod5-T4 | Mod5-T5 | Mod6 | Mod7-T3 |  | Total |  | Spectrom
| FLEX | 18 | 10 | 10 | 7 | 13 | 7 | 30 | 18 | 18 |  | Flex Cable | FLEX | 131
| GPDH | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Glass | GPDH | 18 | TO COME
| GPDL | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | GPDL | 18 | TO COME
| GPH | 0 | 20 | 10 | 14 | 26 | 7 | 30 | 18 | 18 |  | 387 | GPH | 143 | TO COME
| GPL | 0 | 20 | 20 | 14 | 26 | 14 | 60 | 18 | 36 |  |  | GPL | 208 | TO COME
| VA128-HDR1 | 216 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | RO chip | VA128-HDR1 | 216 | TO COME
| VA64-HDR1 | 0 | 160 | 120 | 112 | 208 | 84 | 360 | 288 | 216 |  | 1764 | VA64-HDR1 | 1548 | TO COME
| MSDL | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Hybrid | MSDL | 9 | TO COME
| MSDR | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | MSDR | 9 | TO COME
| MS3L | 0 | 0 | 5 | 0 | 0 | 7 | 30 | 0 | 9 |  |  | MS3L | 51 | TO COME
| MS3R | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 9 |  | 131 | MS3R | 14 | TO COME
| MS4L | 0 | 5 | 0 | 7 | 13 | 0 | 0 | 9 | 0 |  |  | MS4L | 34 | TO COME
| MS4R | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 9 | 0 |  |  | MS4R | 14 | TO COME
| SPD | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Subplate | SPD | 18 | TO COME
| SP3 | 0 | 0 | 10 | 0 | 0 | 7 | 30 | 0 | 18 |  |  | SP3 | 65 | TO COME
| SP4 | 0 | 10 | 0 | 7 | 13 | 0 | 0 | 18 | 0 |  |  | SP4 | 48 | TO COME
| INSREC | 0 | 10 | 10 | 7 | 13 | 7 | 30 | 18 | 18 |  | Insert | INSREC | 113 | TO COME
| INSRND | 54 | 10 | 10 | 7 | 13 | 7 | 30 | 18 | 18 |  |  | INSRND | 167 | TO COME
| PILTHR | 36 | 30 | 20 | 21 | 39 | 14 | 60 | 54 | 36 |  | Pillar | PILTHR | 310 | TO COME
| PILNTH | 54 | 30 | 30 | 21 | 39 | 21 | 90 | 54 | 54 |  |  | PILNTH | 393 | TO COME
| T1 | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Sensor | T1 | 18 | TO COME
| T2 | 0 | 20 | 15 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | T2 | 35 | TO COME
| T3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 36 | 27 |  |  | T3 | 63 | TO COME
| T4 | 0 | 0 | 0 | 28 | 0 | 21 | 0 | 0 | 0 |  | 307 | T4 | 49 | TO COME
| T5 | 0 | 0 | 0 | 0 | 52 | 0 | 90 | 0 | 0 |  |  | T5 | 142 | TO COME
| CD | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Cover | CD | 18 | TO COME
| C3 | 0 | 0 | 10 | 0 | 0 | 7 | 30 | 0 | 18 |  | 131 | C3 | 65 | TO COME
| C4 | 0 | 10 | 0 | 7 | 13 | 0 | 0 | 18 | 0 |  |  | C4 | 48 | TO COME
| TPBD | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Transp. Box | TPBD | 9 | TO COME
| TPB3 | 0 | 0 | 5 | 0 | 0 | 7 | 30 | 0 | 9 |  | 94 | TPB | 85 | TO COME
| TPB4 | 0 | 5 | 0 | 7 | 13 | 0 | 0 | 9 | 0
| TDRch | 36 | 20 | 20 | 14 | 26 | 14 | 60 | 36 | 36 |  | TDR channels |  | 262
[12 empty] | total channels |  | 126720

## Chips
|  | loss = | 0.05
HDR1 | [5 empty] | 482
| installed | spare hybrid | loss/reject | prototype | total
Octagon | 95 | 75 | 9 |  | 179
IV | 32 | 16 | 3 |  | 51
OV |  |  | 0 |  | 0
Rings |  |  | 0 |  | 0
|  |  | 0 |  | 0
Module 1 | 216 | 24 | 12 |  | 252
other Mod |  |  | 0 |  | 0
HDR4 | [5 empty] | 1832
| installed | spare hybrid | assembly loss | prototype | total
Octagon |  |  |  |  | 0
IV |  |  |  |  | 0
OV | 64 | 16 | 4 |  | 84
Rings | 48 | 12 | 3 |  | 63
|  |  | 0 |  | 0
Module 1 |  |  | 0 |  | 0
other Mod | 1548 | 56 | 81 |  | 1685